# Access Control

- Color TFT screen with GUI Interface for ease of use.

- Rugged scratch-resistant optical sensor

- 1-touch 1- second user recognition.

- Stores 1500 templates and 30.000 transactions

- Reads fingerprints and/ or PINs

- Optional integrated prox or smart cards reader.

- Built-in Serial, Wiegand in/ out and Ethernet ports

- Built-in USB port allows for manual data transfer When network isn’t available

- Optional integrated Wifi also available.

- Relay contacts for alarm, bell, lock, exit switch, etc

- 8 user –defined function keys

- Multi Language Support

- Built in bell scheduling

- Real-time 1-touch data export to 3rd party hosted & non hosted applications

- Audio-Visual indications for acceptance and Rejection of valid/invalid fingers

- SDK available for OEM customers and Software developers

# Technical Specification

- Size:1 80 *125 *55mm

- User Capacity: 1500

- Transaction Storage : 50000

- Optional: ID Card, Mifare Card,HID

- Identification time <=2S

- FAR <=0.0001% • FRR£<=1%

- Operating Temperature :0-45C

- Operating Humidity : 20%-80%

- Sensor: Optical 500DPI

- PC Interface :USB,RS232,U disk

- Operation modes : Fingerprint, card, fingerprint card etc.15

- Communications: RS232, RS485, TCP/IP(Standard)

- Standard Function : Workcode, function key, schedular bell